## Sheet 1
Attachment B - District Operator
Work Category | Activity Description | Frequency D-aily W-eekly M-onthly A-nnually AsN-eeded ?-unknown | Responsible District Employee or Contractor | Proposed in future Base Fee | Proposed WO Services
Admin / Management | Create custom reports for the District | AsN | Admin
Admin / Management | Create monthly reports | M | Admin
Admin / Management | Assist with monthly reports for State | M | Admin
Admin / Management | Assist with filing and compiling months operations data | M | OPS
Admin / Management | Bio-Monitoring Report - lab data | ? | OPS
Admin / Management | Consumer confidence report | ? | OPS
Admin / Management | Implement safety programs | ? | OPS
Admin / Management | Water loss audit | ? | OPS
Admin / Management | TCEQ Faciltiy inspection report | ? | OPS
Admin / Management | Compliance Duties performed for a District | ? | OPS
Admin / Management | Texas Water Development Board annual report | A | OPS
Admin / Management | Special report filing to Environmental Agencies | AsN | OPS
Admin / Management | New Development walkthrough inspections | AsN | OPS
Admin / Management | Sewage bypass report & Notify agencies | AsN | OPS
Admin / Management | Administer District survey | ? | SUB
Customer & Billing Services | Process applications - for water service | AsN | Admin
Customer & Billing Services | Payment processing | AsN | Admin
Customer & Billing Services | Deposit District funds | AsN | Admin
Customer & Billing Services | Document customer notes on customer accounts | AsN | Admin
Customer & Billing Services | Process delinquent accounts | M | Admin
Customer & Billing Services | Prepare monthly billing message | M | Admin
Customer & Billing Services | Produce high low & zero read reports | M | Admin
Customer & Billing Services | Audit monthly billing (what does this actually entail?) | M | Admin
Customer & Billing Services | 24 hour dispatch | AsN | OPS
Customer & Billing Services | Turn on water service after hours (bill back to customer) | AsN | OPS
Customer & Billing Services | Turn off water service after hours (could be a bill back situation) | AsN | OPS
Customer & Billing Services | No water call, investigate problem (after hours) | AsN | OPS
Customer & Billing Services | Meter Reading | M | Tech
Customer & Billing Services | Reinstall water meter | AsN | Tech
Customer & Billing Services | Remove water meter - vacant with usage / illegal usage | AsN | Tech
Operations - Detention Pond | Cleaning a detention pond - sedimentation removal & media install | AsN | OPS
Operations - Detention Pond | Detention pond inspections and report | M | OPS
Operations - Detention Pond | Winterize a detention pond (what does this entail?) | AsN | Tech
Operations - Detention Pond | Purchase chemicals for a detention pond | AsN | Tech
Operations - Detention Pond | Minor repairs to the detention pond infrastructure | AsN | Tech
Operations - Detention Pond | Purchase supplies for an improved detention pond | AsN | Tech
Operations at a Lift Station | Winterize a lift station | A | OPS
Operations at a Lift Station | Purchase supplies for a lift stations | AsN | OPS
Operations at a Lift Station | Meet or assist consultants or contractors at a lift station | AsN | OPS
Operations at a Lift Station | General repairs or maintenance of an asset at a lift station | AsN | OPS
Operations at a Lift Station | Preventative maintenance of a lift station (lubrication) | M | OPS
Operations at a Lift Station | Preventative maintenance of a lift station (Electrical) | M | OPS
Operations at a Lift Station | Preventative maintenance of a lift station (Mechanical) | M | OPS
Operations at a Lift Station | Preventative maintenance of a lift station (Generator) | M | OPS
Operations at a Lift Station | Cleaning a lift station wet well | AsN | SUB
Operations at a Lift Station | Purchase chemicals for a lift stations | AsN | Tech
Operations at a Lift Station | Investigate a problem at a lift station | AsN | Tech
Operations of a Distribution System | Post repair inspection of excavation, concrete replacement | AsN | OPS
Operations of a Distribution System | Annual Valve PM (Mechanical) in a water system | A | OPS
Operations of a Distribution System | Annual Fire Hydrant PM (Mechanical) in a water system | A | OPS
Operations of a Distribution System | Air Scouring | AsN | OPS
Operations of a Distribution System | Hauling and clean-up of spoil materials (concrete, asphalt, dirt | AsN | OPS
Operations of a Distribution System | Repair damaged area (Landscaping, Sand / SOD, Concrete) | AsN | OPS
Operations of a Distribution System | Repair a water system mail line | AsN | OPS
Operations of a Distribution System | Repair a water system service line | AsN | OPS
Operations of a Distribution System | Minor repair of a water system asset | AsN | OPS
Operations of a Distribution System | Leak Detection for a water system | AsN | OPS
Operations of a Distribution System | Raise/lower Fire Hydrant | AsN | OPS
Operations of a Distribution System | Replace a fire hydrant | AsN | OPS
Operations of a Distribution System | Shoring (Install New Water Tap) | AsN | OPS
Operations of a Distribution System | Minor repair, replace, adjust, recondition a water system asset | AsN | OPS
Operations of a Distribution System | Read and record master and inter-connect reads | AsN | Tech
Operations of a Distribution System | Chlorine residual sampling in the water system | AsN | Tech
Operations of a Distribution System | Mono Chloramine Sampling in the water system | AsN | Tech
Operations of a Distribution System | Bac-T Sampling after installation of a ‘New’ Water Tap | AsN | Tech
Operations of a Distribution System | BAC-T Sampling after a Repair in a Water System | AsN | Tech
Operations of a Distribution System | Replace water meter (damaged, stuck, broken dial, lid etc.) | AsN | Tech
Operations of a Distribution System | Flushing of a water system | AsN | Tech
Operations of a Distribution System | Investigate a water system leak | AsN | Tech
Operations of a Distribution System | Investigate a water system problem | AsN | Tech
Operations of a Distribution System | Purchase water services for water system asset | AsN | Tech
Operations of a Distribution System | Temporary meter management (Fire Hydrant Meter) | AsN | Tech
Operations of a Distribution System | Investigate poor water quality of a water system | AsN | Tech
Operations of Collections System | Repair a sewer system main line | AsN | OPS
Operations of Collections System | Grease trap installation & Inspections - commercial | AsN | OPS
Operations of Collections System | Grease trap inspections - commercial | AsN | OPS
Operations of Collections System | Investigate sewer system backup/stoppage | AsN | OPS
Operations of Collections System | Investigate a sewer system problem | AsN | OPS
Operations of Collections System | Sewer system main line cleaning | AsN | OPS
Operations of Collections System | Purchase laboratory services for a sewer system | AsN | OPS
Operations of Collections System | Meet and/or assist consultants/contractors at a sewer system | AsN | OPS
Operations of Collections System | Purchase supplies for a sewer system | AsN | OPS
Operations of Collections System | Smoke testing in a sewer system | AsN | OPS
Operations of Collections System | Sewer system survey and inspection manholes | AsN | OPS
Operations of Collections System | Repair a sewer system service line | AsN | OPS
Operations of Collections System | Repair, replace, adjust a sewer system asset repairs | AsN | OPS
Operations of Collections System | Sewer line final inspection - televising | AsN | SUB
Operations of Collections System | Sewer line final re-inspection - televising | AsN | SUB
Operations of Collections System | Sewer system line televising service lines | AsN | SUB
Operations of Collections System | Sewer system line televising service lines main | AsN | SUB
Operations of Collections System | Read, record and monitor pump data at lift stations | D | Tech
Operations of Collections System | Alarm system check and visual inspection | D | Tech
Operations of Collections System | Annual sewer system survey and inspection 6” stacks verify caps not broken | A | Tech
Taps and Inspections | Water tap inspection - residential | AsN | OPS
Taps and Inspections | Water tap re-inspection - residential | AsN | OPS
Taps and Inspections | Install new ‘standard’ water meter | AsN | OPS
Taps and Inspections | Install 1” residential tap and set meter | AsN | OPS
Taps and Inspections | Install 1" residential ‘long’ tap and set meter | AsN | OPS
Taps and Inspections | Install 3/4” Residential tap and set meter | AsN | OPS
Taps and Inspections | Install 5/8” x 3/4” residential tap and set meter | AsN | OPS
Taps and Inspections | Water tap inspection - commercial | AsN | OPS
Taps and Inspections | Install 1” water tap and set meter - commercial | AsN | OPS
Taps and Inspections | Install 3/4" water tap and set meter - commercial | AsN | OPS
Taps and Inspections | Install 5/8 x 3/4 “ water tap and set meter - commercial | AsN | OPS
Taps and Inspections | Back flow prevention inspection - residential | AsN | OPS
Taps and Inspections | Back flow prevention inspection - commercial | AsN | OPS
Taps and Inspections | Customer service inspection - fixture - residential | AsN | OPS
Taps and Inspections | Customer service inspection - fixture - commercial | AsN | OPS
Taps and Inspections | Customer service inspection - slab - residential | AsN | OPS
Taps and Inspections | Customer service inspection - slab - commercial | AsN | OPS
Taps and Inspections | Customer service inspection - wall - residential | AsN | OPS
Taps and Inspections | Customer service inspection - wall - commercial | AsN | OPS
Taps and Inspections | Customer service inspection - final with camera - residential | AsN | OPS
Taps and Inspections | Customer service inspection - final with camera - commercial | AsN | OPS
Taps and Inspections | Final site survey inspection - residential | AsN | OPS
Taps and Inspections | Final site survey inspection - commercial | AsN | OPS
Taps and Inspections | Irrigation system inspection - commercial | AsN | OPS
Taps and Inspections | Pool / spa inspection - commercial | AsN | OPS
Taps and Inspections | Pre-site inspection - residential | AsN | OPS
Taps and Inspections | Pre-site inspection - commercial | AsN | OPS
Taps and Inspections | Irrigation system inspection - residential (bill back) | AsN | OPS
Taps and Inspections | Pool / Spa inspection - residential (bill back) | AsN | OPS
Taps and Inspections | Sewer tap installation and inspection - residential | AsN | OPS
Taps and Inspections | Sewer tap inspection - commercial | AsN | OPS
Taps and Inspections | Maintain inspection files for State record | AsN | OPS
Taps and Inspections | Erosion control inspections | AsN | OPS
Taps and Inspections | Generate erosion control reports | AsN | OPS
Taps and Inspections | Process tap payments and keep logs | AsN | OPS
Taps and Inspections | Generate tap and inspection work orders | AsN | OPS
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items
Additional Service Items